|  | Certified Unified Program Agency County of Marin – Waste Management Division P.O. Box 4186, San Rafael, CA 94913-4186 65 Mitchell Boulevard, Suite 200B, San Rafael, CA 94903 PHONE: (415) 499-6647 FAX: (415) 446-7373 www.co.marin.ca.us/depts/pw/main/wastemanagement.cfm |
| --- | --- |

Application To Modify EVR Phase II / In-Station Diagnostics System

Submittal Requirements

1.   Complete the “Application To Modify” Underground Storage Tank System.  Briefly

describe the work to be done and type of system to be installed i.e. Healy or VST

Membrane Processor.  Describe on application whether new or existing conduit will

be utilized and if the UDC will be penetrated.

2.   Submit summary list of EVR/ISD components being installed or cut sheets and

detailed site map (showing location of each component and whether vapor flow meter

is installed above or below the vapor shear valve).

3.   Your contractor’s license must be available at the job site along with other

manufacturer certifications i.e. ICC Certificate, Air Board Certificates, Veeder-Root.

4.   Submit with application a check for $300.00 for each underground storage tank at the

facility.